## Slide 1: Reconstructions in IceCube
Christian Haack (ECAP FAU Erlangen-Nürnberg) for the IceCube Collaboration II EU Workshop on Water Cherenkov Experiments for Precision Physics

## Slide 2: The IceCube Neutrino Observatory
86 Strings with 60 Digital Optical Modules (DOMs)
Full configuration running with > 99% uptime since 2011
3000 atmospheric per second
1 atmospheric per minute
1 astrophysical per day

## Slide 3: Neutrino Interactions in Ice
Hadronic Cascade
N
Cherenkov Light
Hadronic Cascade
N
Cherenkov Light
CC Deep Inelastic Scattering
NC Deep Inelastic Scattering

## Slide 4: Modelling the Antarctic ice
Accurate reconstruction require a precise model of the optical properties of the Antarctic ice
Model consists of 10m thick layers of constant optical properties. Parameters obtained by combining bore-hole stratigraphy with LED calibration data in a simulation based forward fit.
Includes effect of ice-layer undulations and ice birefrigence
Ice Layers
10m
https://doi.org/10.1016/j.nima.2012.11.170

## Slide 5: Modelling the Antarctic ice
https://doi.org/10.5194/tc-18-75-2024

## Slide 6: Neutrino signatures
arXiv:2008.04323v1
N
or
“Tracks”:
Good directional resolution
Poor energy resolution via of muon
“Cascades”:
CC interactions + NC all-flavor
Directional resolution
Good resolution of visible energy: for CC
“Double Bang”:
CC interactions + decay
Atmospheric production strongly surpressed
decay length:
d

## Slide 7: Neutrino signatures
arXiv:2008.04323v1
N
or
d
In this talk:
Selected reconstructions for high-energy tracks & cascades
For low energy reconstructions, see: https://arxiv.org/abs/2203.02303

## Slide 8: What does IceCube measure?
https://arxiv.org/pdf/1311.4767
PMT Traces are unfolded into photoelectrons at time t with charge q using templates
Data for reconstruction: at each DOM

## Slide 9: Reconstruction Goals & Challanges
In general, we cannot directly reconstruct neutrino properties. => Reconstruct properties of secondaries (energy, direction) and infer neutrino properties statistically in analysis
Precise model of the optical properties of the ice required
Large dynamic range: In the same event, we can have DOMs with single photon hits and saturated DOMs => Different algorithms for different energy ranges.
How do we select & infer the properties of neutrinos from the number of detected photons and their arrival times?

## Slide 10: Event Selection Strategies
Fiducialisation
Morphology-based BG discrimination All* flavors
Using Earth as shield
Direction based BG discrimination Only
“Starting Events”
“Upgoing Tracks”
Both techniques require
precise reconstructions!

## Slide 11: Muon Event Selection with Transformers
For muon neutrinos, atmospheric muon BG has to be reduced by ~10^7
New DNN architecture combines a transformer-based auto-encoder for extracting features from raw data with a Graph-Neural Network
Can be used for classification (event selection) and reconstruction (WIP)
https://arxiv.org/abs/2507.07452v1

## Slide 12: Muon Event Selection with Transformers
25% increase in efficiency at 95% purity

## Slide 13: Cascade in Ice
Calorimetric measurement of the energy: Good angular resolution
Small lever arm: Challenging directional reconstruction
Color: Time delay compared to direct light (red = direct light)

## Slide 14: Cherenkov Light Yield for EM Cascades
~250 photons / cm between 300nm and 500nm
Light yield proportional
to initial energy
Light Yield
Cascade → Sum of Cherenkov „tracks“
Cherenkov angle
https://arxiv.org/abs/1210.5140
A bit more complicated for hadronic cascades
(heavy particles below Cherenkov threshold)

## Slide 15: Likelihood Model
Expected photons per time on DOM j for a cascade with energy at position and direction
Expected photons per time bin on DOM j:
Total likelihood of observing photons (charge) on DOMs in time bins
Key for a good reconstruction is an accurate description of expected photons per time

## Slide 16: Hybrid Reconstruction
DOI: 10.22323/1.395.1065
DNN to predict the arrival time PDFs, trained on simulated events
are DNN outputs

## Slide 17: Mixture Model PDFs
DOI: 10.22323/1.395.1065

## Slide 18: Cascade Resulutions (DNN PDFs)
https://doi.org/10.1126/science.adc9818

## Slide 19: Splined Photon Arrival Time PDFs
Approximations:
Shower elongation DOM spacing Pointlike Emitter Energy dependence factorizes:
Rotational symmetry around detector z-axis
Photon emission rotationally symmetric around momentum direction
Effects that break these symmetries (ice layer undulations, birefrigence) are modelled with additional correction splines
MC Photon Tracking
Tabulate DOM response
B-Spline Interpolation
https://doi.org/10.1088/1748-0221/19/06/P06026

## Slide 20: Cascade Resolutions (Splined LUT)
https://doi.org/10.1088/1748-0221/19/06/P06026

## Slide 21: Muon in IceCube
Can only measure dE/dX: Poor angular resolution
Large lever arm: Excellent directional reconstruction

## Slide 22: Energy Losses of High-Energy Muons
Stochastic Losses
At high energies, the light yield of muons is dominated by stochastic energy losses

## Slide 23: Lightyield of stochastic muons
DOI 10.1088/1748-0221/16/08/P08034
Stochastic losses can significantly change the time profile of measured photons
Directly modelling the stochastic losses in a likelihood is hard: Parameter space is high-dimensional (position & energy of each stochastic loss)

## Slide 24: MPE-Likelihood
Only use time information of the first hit on each DOM.
Reduces effect of stochastic losses & mismodelling of scattered photons
Not very sensitive to muon energy => Not used in energy reconstruction

## Slide 25: Muon Angular Resolutions with SplineMPE
https://arxiv.org/pdf/2103.16931
Empircal modifications to algorithm („max“) to account for muon stochasticity:
Light yield PDFs generated by averaging over many energy loss profiles
Rejecting hits which likely originate from stochastic losses (via KS-test metric)
Convolving the time-pdf with a gaussian distribution

## Slide 26: Segmented Spline Reco
https://arxiv.org/pdf/2103.16931
By segmenting the track hypothesis into a series of cascades, angular resolution can be further improved at the cost of longer runtime
Median Angular Error [deg]

## Slide 27: Energy Loss Unfolding (Millepede)
Likelihood per DOM
Use LA to solve for
Note that depends on the current muon hypothesis (). Solution: Iterative approach. In each optimization step unfold energy losses to calculate .
: Matrix of predicted light yields for each loss and time bin
: Vector of observed hits in each time bin
Things I glossed over:
Noise
Ensuring all entries in are positive
Regularization
Spacing of losses along muon track
…
https://arxiv.org/pdf/1311.4767

## Slide 28: Angular Uncertainty Estimation
Likelihood with energy loss unfolding (Millipede) is a good model of the underlying physics => Uncertainty regions obtained from likelihood scan follow expectation from Wilks’ Theorem
Algorithm is used in IceCube’s realtime alert system to provide ROIs for telescope follow-ups
https://arxiv.org/abs/2507.06957

## Slide 29: Truncated Mean dE/dx
At each DOM calculate
Stochastic losses lead to tail in distribution, biasing
Bias (and thus resolution) can be improved by removing the highest 50% of DOMs from the mean
: Expected photons for 1GeV energy loss per m
2

## Slide 30: DNN Energy Reconstruction
https://doi.org/10.1126/science.abg3395
ResNet Vision Model
https://pos.sissa.it/358/937
DNN improves resolution in transition regime between continuous and stochastic dE/dx

## Slide 31: Normalizing Flows
Given a base distribution and an invertible function parametrized by a neural network we can model any conditional PDF using a normalizing flow:
If is a reconstruction quantity of interest (such as the event direction), we can use the data to learn the posterior PDF.
Useful for estimating non-gaussian / asymmetric uncertainty regions
(Publication in preparation)
https://arxiv.org/pdf/2309.16380

## Slide 32: Kaggle Competition
Tracks
„bad“ events
Cascades
Simulated neutrino interactions in IceCube
Energies from 100 GeV to 100 PeV
Different flavours and interaction types
 One of the biggest kaggle datasets ever!
  > 100 Million events in training set
  1 Million events for scoring
Slide by Philipp Eller

## Slide 33: Kaggle Competition
6,460 people registered
901 participants handed in at least one valid solution
100 first time kagglers
At competition close 812 teams
grand total of 11,206 solutions were submitted
competitors around the globe from 74 countries
Two papers: https://arxiv.org/abs/2307.15289
https://arxiv.org/abs/2310.15674
Top 5 Countries:
10
Slide by Philipp Eller

## Slide 34: Summary
At high energies (above 100 TeV), IceCube is able to reconstruct cascades with <5° and tracks with <0.2° angular resolution
Success of ML-based reconstruction models has inspired efforts to improve „classical“ likelihood-based reconstructions
Both techniques rely on accurate forward MC simulations which requires a precise understanding of the detector medium
„New“ ML techniques are coming (Transformers, Normalizing flows, …) – stay tuned!

## Slide 35: Backup

## Slide 36: Modelling the ice in IceCube
What happens to photons in ice?
They scatter (via Mie scattering on dust)
-> Mean free path over multiple scatters:
-> A photon will scatter at an angle given by a PDF
They get absorbed (via three different absorption mechanisms)
  -> Ice models use the absorption coefficient :
“Urbach tail”:
electronic bandgap-thingy...
Effective at <200 nm
Absorption by dust particles:
Depends on the dust concentration
Effective at nm
IR light excites vibro-rotational modes of
Effective at >500 nm

## Slide 37: Depth Dependency

## Slide 38: Energy Losses of High-Energy Muons
Continuous Losses
(Ionization)
Stochastic Losses
(Bremsstrahlung, Photohadronic,
Pair Production)
Stochastic losses
dominate

## Slide 39: Recording PMT Waveforms in IceCube
PMT signal cannot be continuously digitized.
Back-of-the-envelope calculation:
Need ~ns resolution.
Even with 1 bit (PMT current on/off) this results in 1Gbit / s per DOM.
5000 DOMs -> 5TBits / s for the entire detector.
Triggering: Only record „interesting“ data.
For IceCube, triggering is employed already at the lowest level: Only when the PMT current is above a certain threshold, data recording is started (a „DOM Launch“)

## Slide 40: Ice Layer Undulations
DOI 10.1088/1748-0221/19/06/P06026

## Slide 41: Ice Birefrigence
https://doi.org/10.5194/tc-18-75-2024

## Slide 42: Splined Photon Arrival Time PDFs
Vertex Position
Momentum direction
DOM Position
Deposited Energy
Shower Elongation:
Approximations:
Elongation DOM spacing Pointlike Emitter Energy dependence factorizes:
Rotational symmetry around detector z-axis
Photon emission rotationally symmetric around momentum direction

## Slide 43: Energy Loss Unfolding

## Slide 44: Fast Low Energy Reco using CNNs

## Slide 45: Expected Charge / Time distributions for Cascades
1 GeV EM Cascade
Observation angle
https://arxiv.org/pdf/1311.4767